## Dashboard_Backup_Success_Fail
Date | Backup Successful | Backup Failed
01-Sep | 425 | 182
02-Sep | 455 | 152
03-Sep | 457 | 150
04-Sep | 428 | 179
05-Sep | 447 | 160
06-Sep | 447 | 160
07-Sep | 437 | 160
08-Sep | 466 | 141
09-Sep | 464 | 143
10-Sep | 466 | 141
11-Sep | 472 | 136
12-Sep | 471 | 137
13-Sep | 468 | 140
14-Sep | 473 | 135
15-Sep | 472 | 136
16-Sep | 481 | 127
17-Sep | 475 | 133
18-Sep | 475 | 133
19-Sep | 475 | 133
20-Sep | 470 | 138

## Dashboard_Performance
Date | Performance
01-Sep | 70.02%
02-Sep | 74.96%
03-Sep | 75.29%
04-Sep | 70.51%
05-Sep | 73.64%
06-Sep | 73.64%
07-Sep | 73.2%
08-Sep | 76.77%
09-Sep | 76.44%
10-Sep | 76.77%
11-Sep | 77.63%
12-Sep | 77.47%
13-Sep | 76.97%
14-Sep | 77.8%
15-Sep | 77.63%
16-Sep | 79.11%
17-Sep | 78.12%
18-Sep | 78.12%
19-Sep | 78.12%
20-Sep | 77.3%

## Summary
Date
Node Type | Type of backups | Total number of backups | Backup Successful | 09/20/2020
SDP | Tape Backup | 176 | 175 | 1
AIR | Tape Backup | 32 | 32 | 0
VCCN | VCCN Backup | 2 | 2 | 0
CCN | DBN backup | 31 | 30 | 1
OCC | FS backup | 87 | 74 | 13
NGVS | FS backup/DB Backup
| Total | 328 | 313 | 15
| Performance |  | 95.4268

## SDP_Geo_Redundancy_Status
HOST NAME | Node IP | 09/20/2020
LGSDPL | 10.200.8.246 | Done
LGSDPL | 10.200.8.243 | Done
IBSDPL | 10.198.8.28 | Done
IBSDPL | 10.198.8.27 | Done
OJSDPK | 10.199.88.5 | Done
OJSDPK | 10.199.88.6 | Done
ASSDPF | 10.226.8.192 | Not Done
ASSDPF | 10.226.8.189 | Done
OJSDPB2 | 10.199.88.52 | Not Done
OJSDPA1 | 10.199.88.244 | Not Done
PHSDPM | 10.225.8.217 | Done
PHSDPM | 10.225.8.214 | Done
APSDPB1 | 10.197.88.79 | Done
OWSDPM | 10.229.8.163 | Done
OWSDPM | 10.229.8.166 | Done
LGSDPN1 | 10.200.88.4 | Not Done
ABSDPE | 10.209.8.225 | Done
ABSDPE | 10.209.8.222 | Done
LGSDPK | 10.200.8.45 | Done
LGSDPK | 10.200.8.44 | Done
OJSDPN | 10.199.88.58 | Done
OJSDPN | 10.199.88.55 | Done
APSDPC | 10.197.88.6 | Done
APSDPC | 10.197.88.3 | Done
IBSDPM | 10.198.8.29 | Done
IBSDPM | 10.198.8.30 | Done
APSDPO | 10.197.8.178 | Done
APSDPO | 10.197.8.175 | Done
LGSDPH | 10.200.8.34 | Done
LGSDPH | 10.200.8.33 | Done
APSDPA2 | 10.197.88.76 | Not Done
ASSDPB2 | 10.226.88.136 | Not Done
OWSDPQ | 10.229.8.184 | Done
OWSDPQ | 10.229.8.187 | Done
ABSDPB2 | 10.209.88.137 | Not Done
OWSDPB | 10.229.88.11 | Done
OWSDPB | 10.229.88.14 | Done
OWSDPP | 10.229.8.177 | Done
OWSDPP | 10.229.8.180 | Done
ASSDPC2 | 10.226.88.143 | Not Done
OJSDPA2 | 10.199.88.248 | Not Done
OJSDPO | 10.199.88.61 | Done
OJSDPO | 10.199.88.64 | Done
APSDPD2 | 10.197.88.90 | Not Done
PHSDPK | 10.225.8.96 | Done
PHSDPK | 10.225.8.97 | Done
ASSDPD2 | 10.226.88.150 | Not Done
APSDPQ | 10.197.88.53 | Done
APSDPQ | 10.197.88.56 | Done
PHSDPP | 10.225.8.235 | Done
PHSDPP | 10.225.8.238 | Done
ABSDPP | 10.209.8.128 | Done
ABSDPP | 10.209.8.127 | Done
ABSDPO1 | 10.209.8.125 | Done
OJSDPB1 | 10.199.88.48 | Not Done
PHSDPO | 10.225.8.231 | Done
PHSDPO | 10.225.8.228 | Done
LGSDPM | 10.200.88.3 | Done
LGSDPM | 10.200.88.2 | Done
ABSDPF | 10.209.8.231 | Done
ABSDPF | 10.209.8.228 | Done
ASSDPD1 | 10.226.88.146 | Not Done
IBSDPI | 10.198.8.21 | Done
IBSDPI | 10.198.8.22 | Done
IBSDPN | 10.198.8.32 | Done
IBSDPN | 10.198.8.31 | Done
IBSDPO | 10.198.8.34 | Done
IBSDPO | 10.198.8.33 | Done
ABSDPA1 | 10.209.88.126 | Not Done
OWSDPN | 10.229.8.173 | Done
OWSDPN | 10.229.8.170 | Done
LGSDPJ | 10.200.8.37 | Done
LGSDPJ | 10.200.8.38 | Done
IBSDPP | 10.198.8.35 | Done
IBSDPP | 10.198.8.36 | Done
ASSDPQ | 10.226.8.48 | Done
ASSDPQ | 10.226.8.51 | Done
LGSDPI | 10.200.8.35 | Done
LGSDPI | 10.200.8.36 | Done
ASSDPB1 | 10.226.88.132 | Done
OWSDPA | 10.229.88.6 | Done
OWSDPA | 10.229.88.3 | Done
ABSDPB1 | 10.209.88.133 | Done
OJSDPH | 10.199.88.44 | Done
OJSDPH | 10.199.88.41 | Done
ASSDPA | 10.226.8.163 | Done
ASSDPA | 10.226.8.166 | Done
APSDPD1 | 10.197.88.86 | Not Done
ABSDPO | 10.209.8.126 | Done
ABSDPO | 10.209.8.125 | Done
ASSDPP | 10.226.8.42 | Done
ASSDPP | 10.226.8.45 | Done
OJSDPM | 10.199.88.9 | Done
OJSDPM | 10.199.88.10 | Done
APSDPB2 | 10.197.88.83 | Not Done
ABSDPG | 10.209.8.234 | Done
ABSDPG | 10.209.8.237 | Done
ASSDPH | 10.226.8.237 | Done
ASSDPH | 10.226.8.240 | Done
PHSDPL | 10.225.8.99 | Done
PHSDPL | 10.225.8.98 | Done
APSDPA1 | 10.197.88.72 | Not Done
APSDPF | 10.197.88.46 | Done
APSDPF | 10.197.88.43 | Done
APSDPN | 10.197.8.169 | Done
APSDPN | 10.197.8.172 | Done
APSDPG | 10.197.88.14 | Done
APSDPG | 10.197.88.11 | Done
ABSDPN | 10.209.8.124 | Done
ABSDPN | 10.209.8.123 | Done
LGSDPN2 | 10.200.88.5 | Done
PHSDPN | 10.225.8.221 | Done
PHSDPN | 10.225.8.224 | Done
ABSDPA2 | 10.209.88.130 | Not Done
ASSDPG | 10.226.8.233 | Done
ASSDPG | 10.226.8.230 | Done
OJSDPL | 10.199.88.7 | Done
OJSDPL | 10.199.88.8 | Done
ASSDPC1 | 10.226.88.139 | Not Done
OWSDPO | 10.229.8.214 | Done
OWSDPO | 10.229.8.217 | Done
APSDPP | 10.197.88.22 | Done
APSDPP | 10.197.88.19 | Done
ASSDPI | 10.226.8.244 | Done
ASSDPI | 10.226.8.247 | Done
LGSDPA1 | 10.200.88.92 | Not Done
LGSDPA2 | 10.200.88.96 | Done
LGSDPB1 | 10.200.88.99 | Not Done
LGSDPB2 | 10.200.88.103 | Done
LGSDPC1 | 10.200.88.106 | Not Done
LGSDPC2 | 10.200.88.110 | Done
LGSDPD1 | 10.200.88.113 | Not Done
LGSDPD2 | 10.200.88.117 | Done
LGSDPE1 | 10.200.88.120 | Not Done
LGSDPE2 | 10.200.88.124 | Done
LGSDPF1 | 10.200.88.131 | Not Done
LGSDPF2 | 10.200.88.135 | Not Done
LGSDPG1 | 10.200.88.138 | Not Done
LGSDPG2 | 10.200.88.142 | Not Done
OWSDPI1 | 10.229.88.77 | Not Done
OWSDPI2 | 10.229.88.81 | Not Done
OWSDPJ1 | 10.229.88.84 | Not Done
OWSDPJ2 | 10.229.88.88 | Not Done
APSDPE1 | 10.197.88.201 | Done
APSDPE2 | 10.197.88.204 | Not Done
APSDPH1 | 10.197.88.206 | Done
APSDPH2 | 10.197.88.209 | Not Done
APSDPI1 | 10.197.88.211 | Done
APSDPI2 | 10.197.88.214 | Not Done
APSDPJ1 | 10.197.88.216 | Done
APSDPJ2 | 10.197.88.219 | Not Done
APSDPK1 | 10.197.88.221 | Done
APSDPK2 | 10.197.88.224 | Not Done
APSDPL1 | 10.197.88.226 | Done
APSDPL2 | 10.197.88.229 | Not Done
ASSDPE1 | 10.226.88.152 | Done
ASSDPE2 | 10.226.88.155 | Not Done
ASSDPJ1 | 10.226.88.157 | Done
ASSDPJ2 | 10.226.88.160 | Not Done
ASSDPK1 | 10.226.88.162 | Done
ASSDPK2 | 10.226.88.165 | Not Done
ASSDPL1 | 10.226.88.167 | Done
ASSDPL2 | 10.226.88.170 | Not Done
ASSDPM1 | 10.226.88.172 | Done
ASSDPM2 | 10.226.88.175 | Not Done
ASSDPN1 | 10.226.88.177 | Done
ASSDPN2 | 10.226.88.180 | Not Done

## NGVS_Geo Redundancy_status
Node Name | Node IP | 09/20/2020
OJDNGVS06 | 10.1.195.7 | Done
OJDNGVS04 | 10.1.195.5 | Done
OJDNGVS10 | 10.1.195.11 | Done
OJDNGVS01 | 10.1.195.2 | Done
OJDNGVS15 | 10.1.195.16 | Done
OJDNGVS03 | 10.1.195.4 | Done
OJDNGVS11 | 10.1.195.12 | Done
OJDNGVS09 | 10.1.195.10 | Done
OJDNGVS12 | 10.1.195.13 | Done
OJDNGVS07 | 10.1.195.8 | Done
OJDNGVS02 | 10.1.195.3 | Done
OJDNGVS05 | 10.1.195.6 | Done
OJDNGVS08 | 10.1.195.9 | Done
OJDNGVS13 | 10.1.195.14 | Done
OJDNGVS14 | 10.1.195.15 | Done
APNGVS01 | 10.197.88.111 | Done
APNGVS02 | 10.197.88.112 | Done
APNGVS03 | 10.197.88.113 | Done
APNGVS04 | 10.197.88.114 | Done
APNGVS05 | 10.197.88.115 | Done
APNGVS06 | 10.197.88.116 | Done
APNGVS07 | 10.197.88.117 | Done
APNGVS08 | 10.197.88.118 | Done
APNGVS09 | 10.197.88.119 | Done
APNGVS10 | 10.197.88.120 | Done
APNGVS11 | 10.197.88.121 | Done
APNGVS12 | 10.197.88.122 | Done
APNGVS13 | 10.197.88.123 | Done
APNGVS14 | 10.197.88.124 | Done
APNGVS15 | 10.197.88.125 | Done

## SDP_Daily
20-Sep-2020
|  | Total SDP nodes Backup | 176
Done |  | Backup failed | 1
Not Done |  | Backups successful | 175
Nodes |  |  | TAPE Status |  | Failed Reason(If applicable)
SDP Node No. | Node A-IP | Node B-IP | Node-A | Node-B | Node-A | Logs | Node-B | Logs
ABSDPE | 10.209.8.222 | 10.209.8.225 | Done | Done
ABSDPF | 10.209.8.228 | 10.209.8.231 | Done | Done
ABSDPG | 10.209.8.234 | 10.209.8.237 | Done | Done
ABSDPN | 10.209.8.123 | 10.209.8.124 | Done | Done
ABSDPO | 10.209.8.125 | 10.209.8.126 | Done | Done
ABSDPP | 10.209.8.127 | 10.209.8.128 | Done | Done
APSDPC | 10.197.88.3 | 10.197.88.6 | Done | Done
APSDPF | 10.197.88.43 | 10.197.88.46 | Done | Done
APSDPG | 10.197.88.11 | 10.197.88.14 | Done | Done
APSDPN | 10.197.8.169 | 10.197.8.172 | Done | Done
APSDPO | 10.197.8.175 | 10.197.8.178 | Done | Done
APSDPP | 10.197.88.19 | 10.197.88.22 | Done | Done
APSDPQ | 10.197.88.53 | 10.197.88.56 | Done | Done
ASSDPA | 10.226.8.163 | 10.226.8.166 | Done | Done
ASSDPF | 10.226.8.189 | 10.226.8.192 | Done | Done
ASSDPG | 10.226.8.230 | 10.226.8.233 | Done | Done
ASSDPH | 10.226.8.237 | 10.226.8.240 | Done | Done
ASSDPI | 10.226.8.244 | 10.226.8.247 | Done | Done
ASSDPP | 10.226.8.42 | 10.226.8.45 | Done | Done
ASSDPQ | 10.226.8.48 | 10.226.8.51 | Done | Done
IBSDPI | 10.198.8.21 | 10.198.8.22 | Done | Done
IBSDPL | 10.198.8.27 | 10.198.8.28 | Done | Done
IBSDPM | 10.198.8.29 | 10.198.8.30 | Done | Done
IBSDPN | 10.198.8.31 | 10.198.8.32 | Done | Done
IBSDPO | 10.198.8.33 | 10.198.8.34 | Done | Done
IBSDPP | 10.198.8.35 | 10.198.8.36 | Done | Done
LGSDPH | 10.200.8.33 | 10.200.8.34 | Done | Done
LGSDPI | 10.200.8.35 | 10.200.8.36 | Done | Done
LGSDPJ | 10.200.8.37 | 10.200.8.38 | Done | Done
LGSDPK | 10.200.8.44 | 10.200.8.45 | Done | Done
LGSDPL | 10.200.8.243 | 10.200.8.246 | Done | Done
LGSDPM | 10.200.88.2 | 10.200.88.3 | Done | Done
LGSDPN | 10.200.88.4 | 10.200.88.5 | Done | Done
OJSDPH | 10.199.88.41 | 10.199.88.44 | Done | Done
OJSDPK | 10.199.88.5 | 10.199.88.6 | Done | Done
OJSDPL | 10.199.88.7 | 10.199.88.8 | Done | Done
OJSDPM | 10.199.88.9 | 10.199.88.10 | Done | Done
OJSDPN | 10.199.88.55 | 10.199.88.58 | Done | Done
OJSDPO | 10.199.88.61 | 10.199.88.64 | Done | Done
OWSDPA | 10.229.88.3 | 10.229.88.6 | Done | Done
OWSDPB | 10.229.88.11 | 10.229.88.14 | Done | Done
OWSDPM | 10.229.8.163 | 10.229.8.166 | Done | Done
OWSDPN | 10.229.8.170 | 10.229.8.173 | Done | Done
OWSDPO | 10.229.8.214 | 10.229.8.217 | Done | Done
OWSDPP | 10.229.8.177 | 10.229.8.180 | Done | Done
OWSDPQ | 10.229.8.184 | 10.229.8.187 | Done | Done
PHSDPK | 10.225.8.96 | 10.225.8.97 | Done | Done
PHSDPL | 10.225.8.98 | 10.225.8.99 | Done | Done
PHSDPM | 10.225.8.214 | 10.225.8.217 | Done | Done
PHSDPN | 10.225.8.221 | 10.225.8.224 | Done | Done
PHSDPO | 10.225.8.228 | 10.225.8.231 | Done | Done
PHSDPP | 10.225.8.235 | 10.225.8.238 | Done | Done
ASSDPC | 10.226.88.139 | 10.226.88.143 | Done | Done
APSDPA | 10.197.88.72 | 10.197.88.76 | Done | Done
ASSDPB | 10.226.88.132 | 10.226.88.136 | Done | Done
APSDPD | 10.197.88.86 | 10.197.88.90 | Done | Done
APSDPB | 10.197.88.79 | 10.197.88.83 | Done | Done
ASSDPD | 10.226.88.146 | 10.226.88.150 | Done | Done
OJSDPA | 10.199.88.244 | 10.199.88.248 | Done | Done
OJSDPB | 10.199.88.48 | 10.199.88.52 | Done | Done
ABSDPA | 10.209.88.126 | 10.209.88.130 | Done | Done
ABSDPB | 10.209.88.133 | 10.209.88.137 | Done | Done
OWSDPD | 10.229.88.42 | 10.229.88.46 | Done | Done
OWSDPE | 10.229.88.49 | 10.229.88.53 | Done | Done
OWSDPF | 10.229.88.56 | 10.229.88.60 | Done | Done
OWSDPG | 10.229.88.63 | 10.229.88.67 | Done | Done
OWSDPH | 10.229.88.70 | 10.229.88.74 | Done | Done
LGSDPA | 10.200.88.92 | 10.200.88.96 | Done | Done
LGSDPB | 10.200.88.99 | 10.200.88.103 | Done | Done
LGSDPC | 10.200.88.106 | 10.200.88.110 | Done | Done
LGSDPD | 10.200.88.113 | 10.200.88.117 | Done | Done
LGSDPE | 10.200.88.120 | 10.200.88.124 | Done | Done
LGSDPF | 10.200.88.131 | 10.200.88.135 | Done | Done
LGSDPG | 10.200.88.138 | 10.200.88.142 | Done | Done
OWSDPI | 10.229.88.77 | 10.229.88.81 | Done | Done
OWSDPJ | 10.229.88.84 | 10.229.88.88 | Done | Done
APSDPE | 10.197.88.201 | 10.197.88.204 | Done | Done
APSDPH | 10.197.88.206 | 10.197.88.209 | Done | Not Done
APSDPI | 10.197.88.211 | 10.197.88.214 | Done | Done
APSDPJ | 10.197.88.216 | 10.197.88.219 | Done | Done
APSDPK | 10.197.88.221 | 10.197.88.224 | Done | Done
APSDPL | 10.197.88.226 | 10.197.88.229 | Done | Done
ASSDPE | 10.226.88.152 | 10.226.88.155 | Done | Done
ASSDPJ | 10.226.88.157 | 10.226.88.160 | Done | Done
ASSDPK | 10.226.88.162 | 10.226.88.165 | Done | Done
ASSDPL | 10.226.88.167 | 10.226.88.170 | Done | Done
ASSDPM | 10.226.88.172 | 10.226.88.175 | Done | Done
ASSDPN | 10.226.88.177 | 10.226.88.180 | Done | Done

## AIR_Daily
| #REF! | 20-Sep-2020
| Total AIR nodes | 32
Not Done | Backup failed | 0
Done | Backups successful | 32
|  | TAPE Backup Status | Failed Reason(If applicable) | Logs
AIR | IP
ASAIR12 | 10.226.88.107 | Done
ABAIR13 | 10.209.88.75 | Done
APAIR10 | 10.197.8.223 | Done
ABAIR8 | 10.209.8.33 | Done
OJAIR9 | 10.199.88.81 | Done
OJAIR11 | 10.199.88.85 | Done
APAIR8 | 10.197.8.219 | Done
ABAIR11 | 10.209.88.71 | Done
APAIR12 | 10.197.88.181 | Done
LGAIR4 | 10.200.88.42 | Done
LGAIR5 | 10.200.88.44 | Done
ASAIR18 | 10.226.88.119 | Done
ASAIR13 | 10.226.88.109 | Done
IBAIR6 | 10.198.8.41 | Done
OJAIR10 | 10.199.88.83 | Done
ABAIR9 | 10.209.8.35 | Done
ASAIR15 | 10.226.88.113 | Done
APAIR9 | 10.197.8.221 | Done
OWAIR1 | 10.229.8.193 | Done
APAIR11 | 10.197.8.225 | Done
ASAIR16 | 10.226.88.115 | Done
ABAIR10 | 10.209.8.37 | Done
ASAIR14 | 10.226.88.111 | Done
APAIR6 | 10.197.88.27 | Done
APAIR7 | 10.197.88.38 | Done
ASAIR11 | 10.226.8.62 | Done
IBAIR5 | 10.198.8.248 | Done
ABAIR12 | 10.209.88.73 | Done
ASAIR17 | 10.226.88.117 | Done
OJAIR12 | 10.199.88.111 | Done
OJAIR13 | 10.199.88.113 | Done
OJAIR14 | 10.199.88.115 | Done

## CCN_Daily
20-Sep-2020
|  |  |  | Total CCN nodes | 31
|  |  |  | Backup failed | 1
Done |  |  |  | Backups successful | 30
CCN | Software Level | IP Details |  |  | Daily DBN backup | Failed Reason(If applicable) | Logs
|  | IO1 IP | IO2 IP | VIP O&M
APSCP2 | NSP6_ XLarge | 10.197.28.1 | 10.197.28.2 | 10.197.28.3 | Connectivity/Password Issue
APSCP6 | NSP6_ XLarge | 10.197.28.31 | 10.197.28.32 | 10.197.28.33 | Done
APSCP7 | NSP 6.1 _ Xlarge | 10.197.28.37 | 10.197.28.38 | 10.197.28.39 | Done
APSCP8 | NSP 6.1 _ Xlarge | 10.197.28.43 | 10.197.28.44 | 10.197.28.45 | Done
APSCP9 | NSP 6.1 _ Xlarge | 10.197.28.49 | 10.197.28.50 | 10.197.28.51 | Done
APSCP10 | NSP 6.1 _ Xlarge | 10.197.28.55 | 10.197.28.56 | 10.197.28.57 | Done
APSCP12 | NSP 6.1 _ Xlarge | 10.197.28.67 | 10.197.28.68 | 10.197.28.69 | Done
APSCP13 | NSP 6.1 _ Xlarge | 10.197.28.73 | 10.197.28.74 | 10.197.28.75 | Done
ABSCP1 | NSP6_ XLarge | 10.209.28.1 | 10.209.28.2 | 10.209.28.3 | Done
ABSCP2 | NSP6_ XLarge | 10.209.28.7 | 10.209.28.8 | 10.209.28.9 | Done
ABSCP3 | NSP6_ XLarge | 10.209.28.13 | 10.209.28.14 | 10.209.28.15 | Done
ABSCP10 | NSP 6.1 _ Xlarge | 10.209.28.55 | 10.209.28.56 | 10.209.28.57 | Done
ABSCP11 | NSP 6.1 _ Xlarge | 10.209.28.61 | 10.209.28.62 | 10.209.28.63 | Done
IBSCP1 | NSP6_ XLarge | 10.198.28.43 | 10.198.28.44 | 10.198.28.45 | Done
ASSCP1 | NSP6_ XLarge | 10.226.28.49 | 10.226.28.50 | 10.226.28.51 | Done
ASSCP2 | NSP6_ XLarge | 10.226.28.7 | 10.226.28.8 | 10.226.28.9 | Done
ASSCP4 | NSP 6.1 _ Xlarge | 10.226.28.19 | 10.226.28.20 | 10.226.28.21 | Done
ASSCP9 | NSP6_ XLarge | 10.226.28.61 | 10.226.28.62 | 10.226.28.63 | Done
ASSCP10 | NSP6_ XLarge | 10.226.28.55 | 10.226.28.56 | 10.226.28.57 | Done
ASSCP11 | NSP 6.1 _ Xlarge | 10.226.28.67 | 10.226.28.68 | 10.226.28.69 | Done
ASSCP14 | NSP 6.1 _ Xlarge | 10.226.28.84 | 10.226.28.85 | 10.226.28.86 | Done
BNSCP1 | NSP6_ XLarge | 10.234.28.1 | 10.234.28.2 | 10.234.28.3 | Done
OWSCP1 | NSP6_ XLarge | 10.229.28.1 | 10.229.28.2 | 10.229.28.3 | Done
KNSCP2 | NSP6_ XLarge | 10.210.28.7 | 10.210.28.8 | 10.210.28.9 | Done
ENSCP1 | NSP6_ XLarge | 10.228.28.25 | 10.228.28.26 | 10.228.28.27 | Done
OJSCP3 | NSP6_ XLarge | 10.199.28.13 | 10.199.28.14 | 10.199.28.15 | Done
OJSCP7 | NSP6_ XLarge | 10.199.28.37 | 10.199.28.38 | 10.199.28.39 | Done
OJSCP8 | NSP6_ XLarge | 10.199.28.43 | 10.199.28.44 | 10.199.28.45 | Done
OJSCP10 | NSP 6.1 _ Xlarge | 10.199.28.121 | 10.199.28.122 | 10.199.28.123 | Done
OJSCP11 | NSP 6.1 _ Xlarge | 10.199.28.127 | 10.199.28.128 | 10.199.28.129 | Done
PHSCP1 | NSP6_ XLarge | 10.225.28.1 | 10.225.28.2 | 10.225.28.3 | Done

## vs_old (hidden)
|  |  | 2016-12-12 | [5 empty] | 13/2/2016 | [5 empty] | 16/2/2016 | [5 empty] | 17/2/2016
| (Tape+ORA+ORA Archive) | Total VS nodes backup | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 16 |  | 0 |  | 0 |  | 0
Not Done |  | Backup failed | 0 |  | 2 |  | 4 |  | 0 |  | 6 |  | 6 |  | 0 |  | 4 |  | 2 |  | 0 |  | 0 |  | 0
Done | 0 | Backups successful | 16 |  | 14 |  | 12 |  | 16 |  | 10 |  | 10 |  | 16 |  | 12 |  | 14 |  | 0 |  | 0 |  | 0
VS | Hostname | Host / Console | TAPE Backup status(FS) | Reason of fail(if appplicable) | ORA Backup status | Reason of fail(if appplicable) | ORA ARCHIVE Backup status | Reason of fail(if appplicable) | TAPE Backup status(FS) | Reason of fail(if appplicable) | ORA Backup status | Reason of fail(if appplicable) | ORA ARCHIVE Backup status | Reason of fail(if appplicable) | TAPE Backup status(FS) | Reason of fail(if appplicable) | ORA Backup status | Reason of fail(if appplicable) | ORA ARCHIVE Backup status | Reason of fail(if appplicable) | TAPE Backup status(FS) | Reason of fail(if appplicable) | ORA Backup status | Reason of fail(if appplicable) | ORA ARCHIVE Backup status | Reason of fail(if appplicable)
OJVCSAB | VS Server Host A | 10.199.8.211 | Done |  | Done |  | Done |  | Done |  | Not Done | RMAN Issue, Next backup will be monitored | Not Done | RMAN Issue, Next backup will be monitored | Done |  | Done |  | Done
| VS Server Host B | 10.199.8.221 | Done |  | Done |  | Done |  | Done |  | Not Done | RMAN Issue, Next backup will be monitored | Not Done | RMAN Issue, Next backup will be monitored | Done |  | Done |  | Done
OJVSA | VS Server Host A | 10.199.8.158 | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done
| VS Server Host B | 10.199.8.160 | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done
OJVSC | VS Server Host A | 10.199.8.148 | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Not Done | I/O error on mount /var/oracle/backup | Done
| VS Server Host B | 10.199.8.150 | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Not Done | I/O error on mount /var/oracle/backup | Done
OJVSD | VS Server Host A | 10.199.8.26 | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done
| VS Server Host B | 10.199.8.28 | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done |  | Done
LGVCSB | VS Server Host A | 10.200.8.167 | Done |  | Not Done | Activity planend, waiting for customer approval | Not Done | Activity planend, waiting for customer approval | Done |  | Not Done | RMAN Issue | Not Done | RMAN issue | Done | Geo Red Planned Approval Awaited from Customer | Not Done | Geo Red Planned Approval Awaited from Customer | Not Done | Geo Red Planned Approval Awaited from Customer
| VS Server Host B | 10.200.8.221 | Done |  | Not Done | Activity planend, waiting for customer approval | Not Done | Activity planend, waiting for customer approval | Done |  | Not Done | RMAN Issue | Not Done | RMAN issue | Done | Geo Red Planned Approval Awaited from Customer | Not Done | Geo Red Planned Approval Awaited from Customer | Not Done | Geo Red Planned Approval Awaited from Customer
LGVSA | VS Server Host A | 10.200.8.186 | Done |  | Done |  | Not Done | Upgrade activity was there | Done |  | Not Done | Error raised to team,Next backup will be monitored | Not Done | Error raised to team,Next backup will be monitored | Done |  | Done |  | Done
| VS Server Host B | 10.200.8.188 | Done |  | Done |  | Not Done | Upgrade activity was there | Done |  | Not Done | Error raised to team,Next backup will be monitored | Not Done | Error raised to team,Next backup will be monitored | Done |  | Done |  | Done
LGVSC | VS Server Host A | 10.200.8.190 | Done |  | Done |  | Done |  | Done |  | Done |  | Not Done |  | Done |  | Done |  | Done
| VS Server Host B | 10.200.8.192 | Done |  | Done |  | Done |  | Done |  | Done |  | Not Done |  | Done |  | Done |  | Done
LGVSD | VS Server Host A | 10.200.8.93 | Done |  | Done |  | Done |  | Done |  | Done |  | Not Done |  | Done |  | Done |  | Done
| VS Server Host B | 10.200.8.95 | Done |  | Done |  | Done |  | Done |  | Done |  | Not Done |  | Done |  | Done |  | Done

## NGVS_DAILY
20-Sep-2020
Total NgVS nodes
Backup failed
Done | Backups successful
Node Name | Node IP | DB backup | FS Backup | Logs
OJDNGVS06 | 10.1.195.7 | Not Done | Not Done
OJDNGVS04 | 10.1.195.5 | Not Done | Not Done
OJDNGVS10 | 10.1.195.11 | Not Done | Not Done
OJDNGVS01 | 10.1.195.2 | Not Done | Not Done
OJDNGVS15 | 10.1.195.16 | Not Done | Not Done
OJDNGVS03 | 10.1.195.4 | Not Done | Not Done | No Tape in Drive
OJDNGVS11 | 10.1.195.12 | Not Done | Not Done
OJDNGVS09 | 10.1.195.10 | Not Done | Not Done
OJDNGVS12 | 10.1.195.13 | Not Done | Not Done
OJDNGVS07 | 10.1.195.8 | Not Done | Not Done
OJDNGVS02 | 10.1.195.3 | Not Done | Not Done
OJDNGVS05 | 10.1.195.6 | Not Done | Not Done
OJDNGVS08 | 10.1.195.9 | Not Done | Not Done
OJDNGVS13 | 10.1.195.14 | Not Done | Not Done
OJDNGVS14 | 10.1.195.15 | Not Done | Not Done
APNGVS01 | 10.197.88.111 | Not Done | Not Done
APNGVS02 | 10.197.88.112 | Not Done | Not Done
APNGVS03 | 10.197.88.113 | Not Done | Not Done
APNGVS04 | 10.197.88.114 | Not Done | Not Done
APNGVS05 | 10.197.88.115 | Not Done | Not Done
APNGVS06 | 10.197.88.116 | Not Done | Not Done
APNGVS07 | 10.197.88.117 | Not Done | Not Done
APNGVS08 | 10.197.88.118 | Not Done | Not Done
APNGVS09 | 10.197.88.119 | Not Done | Not Done
APNGVS10 | 10.197.88.120 | Not Done | Not Done
APNGVS11 | 10.197.88.121 | Not Done | Not Done
APNGVS12 | 10.197.88.122 | Not Done | Not Done
APNGVS13 | 10.197.88.123 | Not Done | Not Done
APNGVS14 | 10.197.88.124 | Not Done | Not Done
APNGVS15 | 10.197.88.125 | Not Done | Not Done

## OCC_Daily
20-Sep-2020
|  | Total OCC nodes |  | 87
|  | Backup failed |  | 13
Done |  | Backups successful |  | 74
Server name | Site | IP | FS Backup | Failed Reason(if applicable) | Logs
OJOCCI1 | Ojota | 10.199.88.73 | Done
OJOCCI2 | Ojota | 10.199.88.75 | Done
OJOCCJ1 | Ojota | 10.199.88.77 | Done
OJOCCJ2 | Ojota | 10.199.88.79 | Done
OJOCCK1 | Ojota | 10.199.88.142 | Done
OJOCCK2 | Ojota | 10.199.88.144 | Done
OJOCCL1 | Ojota | 10.199.88.146 | Done
OJOCCL2 | Ojota | 10.199.88.148 | Done
OJOCCM1 | Ojota | 10.199.88.236 | Done
OJOCCM2 | Ojota | 10.199.88.238 | Done
OJOCCN1 | Ojota | 10.199.88.240 | Done
OJOCCN2 | Ojota | 10.199.88.242 | Done
ABOCCA2 | ABUJA | 10.209.88.11 | Done
ABOCCB1 | ABUJA | 10.209.88.19 | Done
ABOCCB2 | ABUJA | 10.209.88.27 | Done
ABOCCC1 | ABUJA | 10.209.88.31 | Done
ABOCCC2 | ABUJA | 10.209.88.33 | Done
ABOCCD1 | ABUJA | 10.209.88.35 | Done
ABOCCD2 | ABUJA | 10.209.88.37 | Done
ABOCCE1 | ABUJA | 10.209.88.39 | Done
ABOCCE2 | ABUJA | 10.209.88.41 | Done
ABOCCI1 | ABUJA | 10.209.88.59 | Done
ABOCCI2 | ABUJA | 10.209.88.61 | Done
ABOCCJ1 | ABUJA | 10.209.88.63 | Done
ABOCCJ2 | ABUJA | 10.209.88.65 | Done
ABOCCK1 | ABUJA | 10.209.88.67 | Done
ABOCCK2 | ABUJA | 10.209.88.69 | Done
ABOCCG1 | ABUJA | 10.209.88.47 | Done
ABOCCG2 | ABUJA | 10.209.88.49 | Done
ASOCCA1 | ASABA | 10.226.88.3 | Done
ASOCCA2 | ASABA | 10.226.88.11 | Done
ASOCCB1 | ASABA | 10.226.88.19 | Done
ASOCCB2 | ASABA | 10.226.88.27 | Done
ASOCCD1 | ASABA | 10.226.88.54 | Done
ASOCCD2 | ASABA | 10.226.88.56 | Done
ASOCCE1 | ASABA | 10.226.88.58 | Done
ASOCCE2 | ASABA | 10.226.88.60 | Done
ASOCCF1 | ASABA | 10.226.88.62 | Done
ASOCCF2 | ASABA | 10.226.88.64 | Done
ASOCCG1 | ASABA | 10.226.88.66 | Done
ASOCCG2 | ASABA | 10.226.88.68 | Done
ASOCCH1 | ASABA | 10.226.88.70 | Done
ASOCCH2 | ASABA | 10.226.88.72 | Done
ASOCCI1 | ASABA | 10.226.88.74 | Done
ASOCCI2 | ASABA | 10.226.88.76 | Done
ASOCCJ1 | ASABA | 10.226.88.78 | Done
ASOCCJ2 | ASABA | 10.226.88.80 | Done
ASOCCK1 | ASABA | 10.226.88.82 | Done
ASOCCK2 | ASABA | 10.226.88.84 | Done
ASOCCL1 | ASABA | 10.226.88.86 | Done
ASOCCL2 | ASABA | 10.226.88.88 | Done
ASOCCM1 | ASABA | 10.226.88.90 | Done
ASOCCM2 | ASABA | 10.226.88.92 | Done
ASOCCN1 | ASABA | 10.226.88.94 | Done
ASOCCN2 | ASABA | 10.226.88.96 | Done
ASOCCO1 | ASABA | 10.226.88.98 | Done
ASOCCO2 | ASABA | 10.226.88.100 | Done
OJOCCA1 | Ojota | 10.199.88.110 | Done
OJOCCA2 | Ojota | 10.199.88.118 | Done
OJOCCB1 | Ojota | 10.199.88.126 | Done
OJOCCB2 | Ojota | 10.199.88.134 | Done
OJOCCC1 | Ojota | 10.199.88.212 | Done
OJOCCC2 | Ojota | 10.199.88.214 | Done
OJOCCD1 | Ojota | 10.199.88.216 | Done
OJOCCD2 | Ojota | 10.199.88.218 | Done
OJOCCE1 | Ojota | 10.199.88.220 | Done
OJOCCE2 | Ojota | 10.199.88.222 | Done
OJOCCF1 | Ojota | 10.199.88.224 | Connectivity/Password Issue
OJOCCF2 | Ojota | 10.199.88.226 | Connectivity/Password Issue
OJOCCG1 | Ojota | 10.199.88.228 | Not Done
OJOCCG2 | Ojota | 10.199.88.230 | Not Done
OJOCCH1 | Ojota | 10.199.88.232 | Connectivity/Password Issue
OJOCCH2 | Ojota | 10.199.88.234 | Not Done
OJOCC02 | Ojota | 10.199.88.174 | Done
ABOCCL1 | ABUJA | 10.209.88.80 | Not Done
ABOCCF2 | ABUJA | 10.209.88.45 | Done
ABOCCL2 | ABUJA | 10.209.88.82 | Not Done
ABOCCN2 | ABUJA | 10.209.88.90 | Not Done
ABOCCH1 | ABUJA | 10.209.88.55 | Not Done
OJOCCO1 | Ojota | 10.199.88.172 | Done
OJOCCP1 | Ojota | 10.199.88.176 | Done
OJOCCP2 | Ojota | 10.199.88.178 | Done
ABOCCM1 | ABUJA | 10.209.88.84 | Not Done
ABOCCA1 | ABUJA | 10.209.88.3 | Done
ABOCCM2 | ABUJA | 10.209.88.86 | Not Done
ASOCCC1 | ASABA | 10.226.88.35 | Done
ABOCCF1 | ABUJA | 10.209.88.43 | Connectivity/Password Issue

## VCCN_Daily
20-Sep-2020
Total AIR nodes
Not Done | Backup failed
Done | Backups successful
VCCN | IP | VCCN Backup Status | Failed Reason(If applicable) | Logs

## Quarterly_Backup_EMM
EMM Name | Node Type | (Root + ORA) Backup status | Configuration backup status
EMM1 | Multi mediation | Current solution for EMM is -- SL3000 Tape Library managed by VERITAS net backup,backup is taken by MTN Storage team, There are issues for OS and DB as currently all indiviual files are taken for backup. | Done on Node itself
EMM2 | Multi mediation |  | Done on Node itself
EMM3 | Multi mediation |  | Done on Node itself
EMM4 | Multi mediation |  | Done on Node itself
EMM5 | Multi mediation |  | Done on Node itself
EMM6 | Multi mediation |  | Done on Node itself

## Quarterly_Backup_CCN
Node Name | Cattering Traffic of | HW Type | Detail | IP Address | Quaterly IO backup | Failed Reason(If applicable) | Quaterly FS backup | Failed Reason(If applicable)
APAPA
APSCP2 | APAPA | NSP6_ XLarge | IO1 | 10.197.28.1 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.197.28.2
|  |  | VIP | 10.197.28.3
APSCP6 | APAPA | NSP6_ XLarge | IO1 | 10.197.28.31 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.197.28.32
|  |  | VIP | 10.197.28.33
APSCP7 | APAPA | NSP6_ XLarge | IO1 | 10.197.28.37 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.197.28.38
|  |  | VIP | 10.197.28.39
APSCP8 | APAPA | NSP6_ XLarge | IO1 | 10.197.28.43 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.197.28.44
|  |  | VIP | 10.197.28.45
APSCP9 | APAPA | NSP6_ XLarge | IO1 | 10.197.28.49 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.197.28.50
|  |  | VIP | 10.197.28.51
APSCP10 | APAPA | NSP6_ XLarge | IO1 | 10.197.28.55 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.197.28.56
|  |  | VIP | 10.197.28.57
APSCP12 | APAPA | NSP6_ XLarge | IO1 | 10.197.28.67 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.197.28.68
|  |  | VIP | 10.197.28.69
APSCP13 | APAPA | NSP6_ XLarge | IO1 | 10.197.28.73 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.197.28.74
|  |  | VIP | 10.197.28.75
ABUJA |  |  |  |  | Backup Status | Failed Reason(If applicable) | Backup Status | Failed Reason(If applicable)
ABSCP1 | ABUJA | NSP6_ XLarge | IO1 | 10.209.28.1 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.209.28.2
|  |  | VIP | 10.209.28.3
ABSCP2 | ABUJA | NSP6_ XLarge | IO1 | 10.209.28.7 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.209.28.8
|  |  | VIP | 10.209.28.9
ABSCP3 | ABUJA | NSP6_ XLarge | IO1 | 10.209.28.13 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.209.28.14
|  |  | VIP | 10.209.28.14
ABSCP10 | ABUJA | NSP6.1_ Xlarge | IO1 | 10.209.28.55 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.209.28.56
|  |  | VIP | 10.209.28.57
ABSCP11 | ABUJA | NSP6.1_ Xlarge | IO1 | 10.209.28.61 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.209.28.62
|  |  | VIP | 10.209.28.63
IBADAN |  |  |  |  | Backup Status | Failed Reason(If applicable) | Backup Status | Failed Reason(If applicable)
IBSCP1 | IBADAN | NSP6_ XLarge | IO1 | 10.198.28.43 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.198.28.44
|  |  | VIP | 10.198.28.45
ASABA |  |  |  |  | Backup Status | Failed Reason(If applicable) | Backup Status | Failed Reason(If applicable)
ASSCP1 | ASABA | NSP6_ XLarge | IO1 | 10.226.28.49 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.226.28.50
|  |  | VIP | 10.226.28.51
ASSCP2 | ASABA | NSP6_ XLarge | IO1 | 10.226.28.7 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.226.28.8
|  |  | VIP | 10.226.28.9
ASSCP4 | ASABA | NSP6.1_ Xlarge | IO1 | 10.226.28.19 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.226.28.20
|  |  | VIP | 10.226.28.21
ASSCP9 | ASABA | NSP6_ XLarge | IO1 | 10.226.28.61 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.226.28.62
|  |  | VIP | 10.226.28.63
ASSCP10 | ASABA | NSP6_ XLarge | IO1 | 10.226.28.55 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.226.28.56
|  |  | VIP | 10.226.28.57
ASSCP11 | ASABA | NSP6.1_ Xlarge | IO1 | 10.226.28.67 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.226.28.68
|  |  | VIP | 10.226.28.69
ASSCP13 | ASABA | NSP6.1_ Xlarge | IO1 | 10.226.28.78 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.226.28.79
|  |  | VIP | 10.226.28.80
ASSCP14 | ASABA | NSP6.1_ Xlarge | IO1 | 10.226.28.84 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.226.28.85
|  |  | VIP | 10.226.28.86
BENIN |  |  |  |  | Backup Status | Failed Reason(If applicable) | Backup Status | Failed Reason(If applicable)
BNSCP1 | BENIN | NSP6_ Xlarge | IO1 | 10.234.28.1 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.234.28.2
|  |  | VIP | 10.234.28.3
OWERRI |  |  |  |  | Backup Status | Failed Reason(If applicable) | Backup Status | Failed Reason(If applicable)
OWSCP1 | OWERRI | NSP6_ Xlarge | IO1 | 10.229.28.1 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.229.28.2
|  |  | VIP | 10.229.28.3
KANO |  |  |  |  | Backup Status | Failed Reason(If applicable) | Backup Status | Failed Reason(If applicable)
KNSCP1 | KANO | NSP6_ Xlarge | IO1 | 10.210.28.37 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.210.28.38
|  |  | VIP | 10.210.28.39
KNSCP1 | KANO | NSP6_ Xlarge | IO1 | 10.210.28.7 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.210.28.8
|  |  | VIP | 10.210.28.9
ENUGU |  |  |  |  | Backup Status | Failed Reason(If applicable) | Backup Status | Failed Reason(If applicable)
ENSCP1 | ENUGU | NSP6_ Xlarge | IO1 | 10.228.28.25 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.228.28.26
|  |  | VIP | 10.228.28.27
OJATA |  |  |  |  | Backup Status | Failed Reason(If applicable) | Backup Status | Failed Reason(If applicable)
OJSCP3 | OJOTA | NSP6_ Xlarge | IO1 | 10.199.28.13 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.199.28.14
|  |  | VIP | 10.199.28.15
OJSCP7 | OJOTA | NSP6_ Xlarge | IO1 | 10.199.28.37 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.199.28.38
|  |  | VIP | 10.199.28.39
OJSCP8 | OJOTA | NSP6_ Xlarge | IO1 | 10.199.28.43 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.199.28.44
|  |  | VIP | 10.199.28.45
OJSCP10 | OJOTA | NSP6.1_ Xlarge | IO1 | 10.199.28.121 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.199.28.122
|  |  | VIP | 10.199.28.123
OJSCP11 | OJOTA | NSP6.1_ Xlarge | IO1 | 10.199.28.127 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.199.28.128
|  |  | VIP | 10.199.28.129
PORT-HARCOURT |  |  |  |  | Backup Status | Failed Reason(If applicable) | Backup Status | Failed Reason(If applicable)
PHSCP1 | PORT-HARCOURT | NSP6_ Xlarge | IO1 | 10.225.28.1 | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability | Not Done | The External storage is not available to take the backup. Issue escalated to MTN HW support team for External mount availability
|  |  | IO2 | 10.225.28.2
|  |  | VIP | 10.225.28.3